## GL17S Floor Joists

| Size (mm) | Single Span Floor Joists – Joist Spacing (mm) |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | 300 | 400 | 450 | 480 | 600 |
| 140x42 | 3.9 | 3.2 | 3.1 | 3.0 | 2.9 |
| 190x42 | 5.0 | 4.6 | 4.4 | 4.3 | 4.1 |
| 240x42 | 5.9 | 5.5 | 5.3 | 5.3 | 5.0 |
| 290x42 | 6.8 | 6.3 | 6.2 | 6.1 | 5.7 |
| 140x65 | 4.4 | 3.9 | 3.6 | 3.6 | 3.4 |
| 190x65 | 5.5 | 5.1 | 5.0 | 4.9 | 4.6 |
| 240x65 | 6.6 | 6.1 | 6.0 | 5.9 | 5.5 |
| 290x65 | 7.6 | 7.1 | 6.9 | 6.8 | 6.4 |
| Size (mm) | Continuous Span Floor Joists – Joist Spacing (mm) |  |  |  |  |
|  | 300 | 400 | 450 | 480 | 600 |
| 140x42 | 4.3 | 4.0 | 3.7 | 3.6 | 3.4 |
| 190x42 | 5.4 | 5.0 | 4.9 | 4.8 | 4.6 |
| 240x42 | 6.5 | 6.0 | 5.8 | 5.7 | 5.4 |
| 290x42 | 7.5 | 6.9 | 6.7 | 6.6 | 6.3 |
| 140x65 | 4.8 | 4.5 | 4.3 | 4.3 | 4.0 |
| 190x65 | 6.1 | 5.6 | 5.5 | 5.4 | 5.1 |
| 240x65 | 7.2 | 6.7 | 6.5 | 6.4 | 6.1 |
| 290x65 | 8.3 | 7.8 | 7.5 | 7.4 | 7.0 |

Span values are in metres

Loading Data:

Dead Load of floor maximum 40 kg/m2
(Covers standard residential floor materials, including plasterboard ceiling below)
Live Load for residential loads 1.5kPa (with a check on a concentrated live load of 1.8kN anywhere)
ETH LAM GL 17 beams are manufactured straight, without any camber built into the beams.
Floor Joist design criteria in accordance with methods presented in AS1684.1-1999, and structural timber design in accordance with AS1720.1-2010.

Notes:

- Minimum bearing lengths for support of floor joists: 30mm on end supports, and 45mm internal supports.

- The span value shown is the distance between centrelines of supports.

- For continuous spans, the adjacent floor joist spans may be different, but look up the larger of the spans, and the shorter span must be more than 50% of the larger span. If this rule is not met, then consider the floor joists are simply supported, and look up the larger span in the single span table.

- Deflection criteria: for permanent load combinations, the lesser of Span/300, or 12mm, and for Floor Live Loads, the lesser of Span/360, or 9mm.

- For floor joists the lateral restraint is assumed to be achieved via the fixing of flooring direct to the top edge. No restraint of the bottom edge of the joist is assumed.

- Where there are conflicts in design between loading codes (AS/NZS1170 series), timber code (AS1720.1-2010) and AS1684.1-1999, the loading codes and timber codes take preference.

- Floor dynamic load check is made for a 1kN concentrated load to ensure less than 2mm deflection.

- These floor joist designs assume the joists are seasoned, and remain dry in service.

- The above span table values have been designed in accordance with the following codes:

- AS1720.1-2010 Timber Design Code

- AS1170.0, .1, .2-2002 Loading Codes for Limit State design, Live Loads, and Wind Loads respectively.

- AS1684.1-1999 Design Criteria for Residential Timber Framing (secondary code if in conflict with the above).